| Part No. | Description |  |
| --- | --- | --- |
| - B048-68 | 68 litres water capacity CO2 Cylinder with ISI marked and CCE Approval to fill 45 Kg CO2 gas 1. Type : High Pressure Seamless Brand New Rechargeble type CO2 Cylinder 2. Water Capacity : 68 Ltrs 3. CO2 Capacity : 45 Kg 4. Standard : IS-7285 4. Test Pressure : 250 Kg/cm2 5. Working Pressure : 150 Kg/cm2 6. Approval : BIS & CCOE 7. Make : EKC/Eurotech / Equiv |  |
| - B048-56 | 56 Litres water capacity CO2 cylinder with ISI marked and CCE Approval to fill 36 kg CO2 gas |  |
| - B048-50 | 50 Litres water capacity CO2 cylinder with ISI marked and CCE Approval to fill 33 kg CO2 gas |  |
| - B048-33 | 33 Litres water capacity CO2 cylinder with ISI marked and CCE Approval to fill 22.5 kg CO2 gas |  |
| - B001/DIN | CO2 Master Valve with DIN477 threading standard complete with 24 VDC Solenoid and Manual Release lever 1. Make : Ceodeux (EU- Europe Union) 2. Material : Brass Bodey with SS inner Parts 3. Max. Working Pressure : 250 Kg/ Cm2 4. Operation : 24V DC Solenoid Valve / Manual Release Lever 5. Approval : CE |  |
| - B001/ DIN/EX | CO2 Master Valve with DIN 477 threading standard complete with Explosion proof Solenoid and Manual Release lever Valve: 1. Make : Ceodeux (EU- Europe Union) 2. Material : Brass Bodey with SS inner Parts 3. Max. Working Pressure : 250 Kg/ Cm2 Solenoid: 1.Voltage - 24vdc 2. Watt - 19 3. Hazard Group : Class I, Divsion I, Group A, B, C & D, Class II, Divsion I, Group E. 4. Approval : CE / |  |
| - IH149/165-M80 | Master Cylinder Valve Protection Cap of size Φ165 with Flange cylinder Neck Thread M80 |  |
| - IH149/165-M96 | Master Cylinder Valve Protection Cap of size Φ165 with Flange cylinder Neck Thread M96 |  |
| - IH149/220-M80 | Master Cylinder Valve Protection Cap of size Φ220 with Flange cylinder Neck Thread M80 |  |
| - IH149/165/SF-M80 | Master Cylinder Valve Protection Cap of size Φ165 with Flange with Split Ring cylinder Neck Thread M80 |  |
| - IH149/165/SF-M96 | Master Cylinder Valve Protection Cap of size Φ165 with Flange with Split Ring cylinder Neck Thread M96 |  |
| - IH149/220/SF-M80 | Master Cylinder Valve Protection Cap of size Φ220 with Flange with Split Ring cylinder Neck Thread M80 |  |
| - B004/DIN | CO2 Slave Valve with pneumatic actuator & Manual Lever with DIN477 threading standard 1. Make : Ceodeux - Luxmbourg-EU 2. Material : Brass Bodey with SS inner Parts 3. Max. Working Pressure : 250 Kg/ Cm2 4. Operation : Pneumatic & Manual Lever 5. Approval : LPCB / VDS |  |
| - BIH005 | Puncturing Device for Disc type CO2 Valve 1. suitable for weight operated system 2. Made out Brass & SS 3. To be used with puncturing type CO2 valve |  |
| - BIH005/1 | CO2 Valve with Puncturing Device 1. suitable for weight operated system 2. Made out Brass |  |
| - IH010 | Pull type Electric Actuator 1. Working Voltage : 24 V DC/220 V DC/230 V AC 2. To be used in Weight Operated System |  |
| - B135 | CO2 gas with 99.9% purity filling |  |
| - IH324/* | Wintergreen Odorizers suitable for *Cylinder Bank Arrangement (* No.of Cylinders) |  |
| - B327 | CO2 Bleed Valve, 1/8" Threaded Connection |  |
| - IH030-2 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 02 Nos.of 45Kg. Capacity CO2 Cylinders) 1 Manifold (Header) a. Material : Seamless Sch.80 pipe as per ASTM-A-106 Gr.B b. Finishing : Powder Coating finishing with P.O Red shade 2. Frame Assemble a. Material : 40 x 40 x 1.6 thk M.S Square Tube b. Bolts & Nuts : Made out of SS304 c. Accessories : Holding Rod & Nut is provieded for cylinders c. Finishing : Powder Coating finishing with Grey shade d. Grounting : Suitable Holes Provieded for Anchor Fastner |  |
| - IH030-2 WD | CO2 Cylinder Bank Frame & Accessories with Weighing Device Mounting Rail (Suitable to fix 02 Nos.of 45Kg. Capacity CO2 Cylinders) 1 Manifold (Header) a. Material : Seamless Sch.80 pipe as per ASTM-A-106 Gr.B b. Finishing : Powder Coating finishing with P.O Red shade 2. Frame Assemble a. Material : 40 x 40 x 1.6 thk M.S Square Tube b. Bolts & Nuts : Made out of SS304 c. Accessories : Holding Rod & Nut is provieded for cylinders c. Finishing : Powder Coating finishing with Grey shade d. Grounting : Suitable Holes Provieded for Anchor Fastner 3. Gas Weight Monitor Fixing Rail Assembly a. Material : Fabricated with 50x50x6 thk L-Angle b. Finishing : Powder Coating finishing with Grey shade |  |
| - IH030-3 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 03 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-3 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 03 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-4 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 04 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-4 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 04 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-5 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 05 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-5 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 05 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-6 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 06 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-6 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 06 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-7 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 07 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-7 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 07 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-8 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 08 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-8 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 08 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-9 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 09 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-9 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 09 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030-10 | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 10 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 |  |
| - IH030-10 WD | CO2 Cylinder Bank Frame & Accessories (Suitable to fix 10 Nos.of 45Kg. Capacity CO2 Cylinders) For Details refer Part No. IH030-2 WD |  |
| - IH030CS* | CO2 Cylinder bank Frame & Accessories suitable for (CS*) No. of cylinders same as Part no-IH030 (CS*) - Customer / Site Specification |  |
| - IH030- CS* WD | CO2 Cylinder bank Frame & Accessories suitable for (CS*) No. of cylinders same as Part no-IH030(CS*) WD - Customer / Site Specification |  |
| - IH353 | Cylinder Fixing Bracket |  |
| - IH357 | Main & Standby Selector Switch Unit |  |
| - IH136-2 | Joining Manifold for 2 Nos. of Directional Valve upto 50 NB size |  |
| - IH136-3 | Joining Manifold upto 4 Nos. of Directional Valve upto 50 NB size |  |
| - IH136-4 | Joining Manifold upto 4 Nos. of Directional Valve upto 50 NB size |  |
| - IH136* | Joining Manifold upto 4 Nos. of Directional Valve upto 50 NB size |  |
| - IH018 | Non-Return Valve suitable for CO2 Master Cylinder 1. Material : Brass Body with CS inner Ball 2. Type of Mounting : Vertical 3. Manifold Connection : 3/4" NPT (F) 4. Discharge Hose Connection : 1/2"BSP (F) 5. Actuation Hose Connection : 1/8" BSP (F) |  |
| - IH018/1 | Non-Return Valve suitable for CO2 Master Cylinder 1. Material : Brass Body with CS inner Ball 2. Type of Mounting : Vertical 3. Manifold Connection : 1/2" NPT (F) 4. Discharge Hose Connection : 1/2"BSP (F) 5. Actuation Hose Connection : 1/8" BSP (F) |  |
| - IH019 | Non-Return Valve suitable for CO2 Slave Cylinder 1. Material : Brass Body with CS inner Ball & SS Pin 2. Type of Mounting : Vertical 3. Manifold Connection : 3/4" NPT (F) 4. Discharge Hose Connection : 7/8" UNF (M) |  |
| - IH019/1 | Non-Return Valve suitable for CO2 Slave Cylinder 1. Material : Brass Body with CS inner Ball & SS Pin 2. Type of Mounting : Vertical 3. Manifold Connection : 1/2" NPT (F) 4. Discharge Hose Connection : 7/8" UNF (M) |  |
| - B321-25 | Flanged type 25NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B321-32 | Flanged type 32NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B321-40 | Flanged type 40NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B321-50 | Flanged type 50 NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B321-65 | Flanged type 65 NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B321-80 | Flanged type 80 NB Non-Return Valve suitable for Horizontal Mounting in Manifold/ Discharge Line |  |
| - B020 | High Pressure Discharge Hose1. Model : SAE-100R2-AT2. Size : 1/2" (ID)3. Material : Synthetic Oil Resistant rubber and outer wire braided out of SS304.4. Hydro Test Pressure : 8000 psi.5. Working Pressure : 4000 psi.6. Overall Length : 400mm |  |
| - B021 | High Pressure Discharge Hose 1. Model : SAE-100R2-AT 2. Size : 1/2" (ID) 3. Material : Synthetic Oil Resistant rubber and outer wire braided out of SS304. 4. Hydro Test Pressure : 8000 psi. 5. Working Pressure : 4000 psi. 6. Overall Length : 350mm |  |
| - B022 | High Pressure Actuation Hose 1. Model : SAE-100R2-AT 2. Size : 3/16" (ID) 3. Material : Synthetic Oil Resistant rubber and outer wire braided out of SS304. 4. End Fittings : Swivel type made out of SS304 4. Hydro Test Pressure : 10,000 psi. 5. Working Pressure : 5,000 psi. 6. Overall Length : 550mm |  |
| - B023 | High Pressure Actuation Hose 1. Model : SAE-100R2-AT 2. Size : 3/16" (ID) 3. Material : Synthetic Oil Resistant rubber and outer wire braided out of SS304. 4. End Fittings : Swivel type made out of SS304 4. Hydro Test Pressure : 10,000 psi. 5. Working Pressure : 5,000 psi. 6. Overall Length : 300mm |  |
| - BIH024* | 2 set of 24v DC operated solenoid valve with mannual override. (Not available from 1st January 2009) |  |
| - BIH025* | 3 set of 24v DC operated solenoid valve with mannual override. (Not available from 1st January 2009) |  |
| - BIH026 * | 4 set of 24v DC operated solenoid valve with mannual override. (Not available from 1st January 2009) |  |
| - BIH026/1-5* | 5 set of 24v DC operated solenoid valve with mannual override. (Not available from 1st January 2009) |  |
| - BIH027* | Pilot N2 Cylinder 1 M3 capacity with cylinder valve, pressure regulator and one set of 24V DC operated, Solenoid Valve with Manual Override - To operate Slave cylinder valve(Not available from 1st January 2009) |  |
| - BIH027/1* | Pilot N2 cylinder 1M3 capacity with cylinder valve, pressure regulator (Not available from 1st January 2009) |  |
| - BIH027/1/2* | Pilot N2 Cylinder 1 M3 capacity with cylinder valve, pressure regulator with two set of 24V DC operated Solenoid valve with manual overide, to operate two Directional valve pneumatic actuator (Not available from 1st January 2009) |  |
| - BIH027/1/3* | Pilot N2 Cylinder 1 M3 capacity with cylinder valve, pressure regulator with three set of 24V DC operated Solenoid valve with manual overide, to operate three Directional valve pneumatic actuator (Not available from 1st January 2009) |  |
| - BIH027/1/4* | Pilot N2 Cylinder 1 M3 capacity with cylinder valve, pressure regulator with four set of 24V DC operated Solenoid valve with manual overide, to operate four Directional valve pneumatic actuator (Not available from 1st January 2009) |  |
| - BIH027E/CS* | Pilot N2 Cylinder 1 M3 capacity with cylinder valve, pressure regulator and (X) set of Explosion Proof Solenoid 24V DC operated, with Manual Override - To operate Slave cylinder valve Hazardous Area Classification - CL-I, DIV-I, GRP-A,B,C & D. CL - II, DIV - I, GR - E (Not available from 1st January 2009) |  |
| - BIH302 | Pilot CO2 Cylinder 6.8 litres water capacity Filled with 4.5kg CO2 Gas with 24v DC Solenoid operated cylinder valve with manual lever to operate Slave Cylinder valves / one No. Directional valve pneumatic actuator. |  |
| - BIH302-E | Pilot CO2 Cylinder 6.8 litres water capacity Filled with 4.5kg CO2 Gas with 24v DC Explosion proof solenoid operated cylinder valve with manual lever to operate Slave Cylinder valves / one No. Directional valve pneumatic actuator. Hazardous Area Classification - CL-I, DIV-I, GRP-A,B,C & D. CL - II, DIV - I, GR - E |  |
| - BIH302-N2 | Pilot N2 Cylinder 6.8 litres water capacity Filled with 1m3 N2 Gas at 150 bar Pressure fitted with 24v DC Solenoid cylinder valve with Pressure Gauge and Manual Lever to Operate Slave Cylinder valves / one No. Directional valve pneumatic actuator. |  |
| - BIH302-N2-PS | Pilot N2 Cylinder 6.8 litres water capacity Filled with 1m3 N2 Gas at 150 bar Pressure fitted with 24v DC Solenoid cylinder valve with Pressure Switch and Manual Lever to Operate Slave Cylinder valves / one No. Directional valve pneumatic actuator. |  |
| - IH024/1-2 SV | Distributor Asssembly with 2 no. 24vDC operated solenoid valve and electrical terminal box. (To be used with BIH302-N2 & BIH302-N2-PS) |  |
| - IH024/1-3 SV | Distributor Asssembly with 3 no. 24vDC operated solenoid valve and electrical terminal box. (To be used with BIH302-N2 & BIH302-N2-PS) |  |
| - IH024/1-4 SV | Distributor Asssembly with 4 no. 24vDC operated solenoid valve and electrical terminal box. (To be used with BIH302-N2 & BIH302-N2-PS) |  |
| - IH024/1-5 SV | Distributor Asssembly with 5 no. 24vDC operated solenoid valve and electrical terminal box. (To be used with BIH302-N2 & BIH302-N2-PS) |  |
| - IH006 | Continuous Gas Weight Monitor - Mechanical Counter Weight Type complete with limit switch and connecting cable(Model No.CGWM-M) (Nut Mounting) (Being spaced out in April 2009) |  |
| - IH006 WOLS | Continuous Gas Weight Monitor - Mechanical Counter Weight Type complete without limit switch and connecting cable(Model No.CGWM-M) ( Nut Mounting)(Being spaced out in April 2009) |  |
| - IH006-1 | Continuous Gas Weight Monitor - Mechanical Counter Weight Type complete with limit switch and connecting cable(Model No.CGWM-M) ( Pin Mounting) |  |
| - IH006-1 WOLS | Continuous Gas Weight Monitor - Mechanical Counter Weight Type complete without limit switch and connecting cable(Model No.CGWM-M)( Pin Mounting ) |  |
| - IH006E | Continuous Gas Weight Monitor - Mechanical Counter Weight Type with Explosion Proof Limit Switches (Model No.CGWM-Mex) |  |
| - IH007 | Continuous Gas Weight Monitor - Analogue LED Type (Model No.CGWM-E) |  |
| - IH007IS | Continuous Gas Weight Monitor - Analogue LED Type (Model No.CGWM-IS, Intrinsically safe, To be used with suitable zener safety barrier model no. MTL787SP+) |  |
| - IH009 | Continuous Gas Weight Monitor Control Panel (Common for all type of Weight Monitor (Model No.CGWM-CP |  |
| - IH009/1 | Weather proof Continuous Gas Weight Monitor Control Panel with IP-66 Protection, UL, VDE Approved Enclosure |  |
| - IH009/2A | Continuous Gas Weight Monitor Control Panel suitable for 2 Area Application (Suitable to connect 40Nos.of Gas Weight Monitors) (Common for all type of Weight Monitor (Model No.CGWM-CP) |  |
| - IH009/*S | Continuous Gas Weight Monitor Control Panel suitable for *Required No.of Area Application (Suitable to connect 20Nos.of Gas Weight Monitors in each section) (Common for all type of Weight Monitor (Model No.CGWM-CP) |  |
| - IH015-15 | 15 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-15E | 15 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-20 | 20 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-20E | 20 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-25 | 25 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-25E | 25 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-32 | 32 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-32E | 32 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-40 | 40 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-40E | 40 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-50 | 50 NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-50E | 50 NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH015-CS | X NB CO2 Directional valve with pneumatic actuator & Limit Switch |  |
| - IH015-CS E | X NB CO2 Directional valve with pneumatic actuator & Flame Proof Limit Switch |  |
| - IH012 | CO2 Nozzle with cone horn 1. Material : Leaded Tin Bronze witn Nickel Plating as per IS-63822. Test Pressure : 140 Kg/ cm23. Orifice Code : As per design requirement4. Nozzle Cover Material : Aluminium5. Process Connection threading : 1/2" BSP |  |
| - IH014 | CO2 Nozzle adaptor suitable for Part No. IH012 |  |
| - IH011 | CO2 Nozzle with cone horn sutiable to fit in the machinery |  |
| - IH011/1 | CO2 Nozzle suitable for Duct Application. |  |
| - IH012-01 | Co2 Discharge Nozzle - Flange type |  |
| - IH237-15 | 15 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-15E | 15 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-20 | 20 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-20E | 20 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-25 | 25 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-25E | 25 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-32 | 32 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-32E | 32 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-40 | 40 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-40E | 40 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-50 | 50 NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-50E | 50 NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH237-CS | X NB Manual Lock-out Valves with supervisory Limit Switch |  |
| - IH237-CS E | X NB Manual Lock-out Valves with supervisory Explosion proof Limit Switch |  |
| - IH138 | Manifold Safety Valve |  |
| - IH138/1 | Bleeder Valve |  |
| - IH138/2 | Actuator Bleeder Valve |  |
| - B217/* | C.S Seamless Sch.80 Pipes as per ASTM-A-106 Gr.B with Fittings of suitable* Sizes |  |
| - IH041 | Discharge Warning Display Unit |  |
| - B143 | Weather proof pressure switch |  |
| - B144 | Explosion proof pressure switch |  |
| - IH028 | Inhibit Switch / Abort Switch Suitable for indoor Application |  |
| - IH028/1 | Inhibit Switch / Abort Switch Suitable for Outdoor Application |  |
| - IH028 - AD | Inhibit Switch with inbuilt addressable module for indoor application |  |
| - IH029 - AD | Manual gas discahrge station with inbuilt addressable module for indoor application |  |
| - IH029 | Manual Gas Discharge Station for indoor application |  |
| - IH029/H SI | Manual Gas Discharge Station With Holding, Supervising & Indication. |  |
| - IH029/1 | Manual Gas Discharge Station for Outdoor Application |  |
| - IH029/1 /H SI | Manual Gas Discharge Station for Outdoor Application With Holding, Supervising & Indication. |  |
| - IH358 | Manual gas discharge pull box |  |
| - B146 | Explosion proof manual discharge station |  |
| - IH147 | Electronic Dual Tone Hooter with Flashing Lamp for Indoor Application. |  |
| - IH147/1 | Electronic Dual Tone Hooter with Flashing Lamp - for Outdoor Application |  |
| - IH147-DT/IT | Electronic Hooter with Flasher with Dual Tone and Intermediate Tone - Indoor Application. |  |
| - IH147-IT | Electronic Hooter with Flasher with Intermediate Tone - Indoor Application. |  |
| - IH345 | Flashing Lamp - Outdoor Apllication |  |
| - IH362 | Flashing Lamp - Indoor Apllication |  |
| - IH040 | Electronic Hooter Dual Tone - For Indoor Application |  |
| - IH040/1 | Electronic Hooter Dual Tone - outdoor Application |  |
| - B162 | Explosion Proof Electronic Hooter |  |
| - IH040-H | Electronic hooter dual tone - High db (Available in after Sep 2009) |  |
| - B216 | Ex.Proof Flasher Light, 24V DC Operated |  |
| - B223 | Ex.Proof Hooter with Flasher Light, 24V DC Operated |  |
| - B145 | Explosion proof manual call point |  |
| - IH213 | Pneumatic Horn |  |
| - IH169 | Electro Pneumatic Relay, 24V DC |  |
| - IH046/A1/D1 | Fire Detection cum Gas Discharge Panel for One Area Application |  |
| - IH046/Z2/D1 | 2 zone Conventional Modular Type Fire Alarm Panel with one gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z4/D1 | 4 zone Conventional Modular Type Fire Alarm Panel with one gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z4/D2 | 4 zone Conventional Modular Type Fire Alarm Panel with two gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z6/D1 | 6 zone Conventional Modular Type Fire Alarm Panel with one gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z6/D2 | 6 zone Conventional Modular Type Fire Alarm Panel with two gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z6/D3 | 6 zone Conventional Modular Type Fire Alarm Panel with three gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z8/D1 | 8 zone Conventional Modular Type Fire Alarm Panel with one gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z8/D2 | 8 zone Conventional Modular Type Fire Alarm Panel with two gas Discharge module with inbuilt charger and without battery |  |
| - IH046/Z8/D3 | 8 zone Conventional Modular Type Fire Alarm Panel with three gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z8/D4 | 8 zone Conventional Modular Type Fire Alarm Panel with four gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z10/D4 | 10 zone Conventional Modular Type Fire Alarm Panel with four gas discharge module with inbuilt charger and without battery |  |
| - IH046/Z*/D* | Conventional Modular Type Fire Alarm Panel with gas discharge module with inbuilt charger and without battery (* - As per Requirement) |  |
| - IH046/Z3/ D1/L1 | 3 zone Conventional Modular Type Fire Alarm Panel with one gas discharge module & One Low Weight indication Module with inbuilt charger and without battery |  |
| - IH046/Z4/D2 /DV2 | 4 zone Conventional Modular Type Fire Alarm Panel with two gas discharge module & Directional valve with inbuilt charger and without battery |  |
| - IH046/Z4/D2 - I&E | 4 zone Conventional Modular Type Fire Alarm Panel with two gas discharge module with inbuilt charger and without battery (Intial & Extended). |  |
| - B231/* | 2x12V DC, *AH SMF Lead Acid Battery |  |
| - IH140 | Electrical trip panel |  |
| - IH141 | Siren Control Panel |  |
| - B359 | Siren |  |
| - IH142 | Gas Extinguishing panel with input supply of 24V DC-Single Area |  |
| - IH142/2 | Gas Extinguishing panel with input supply of 24V DC-Two Area |  |
| - IH142/3 | Gas Extinguishing panel with input supply of 24V DC-Three Area |  |
| - IH218 | Auxilliary Power Supply Panel |  |
| - IH221/1 | Pneumatic Panel to operate Dampers |  |
| - IH166 | UV Flame Detector 24 V DC – 2 wire system suitable to connect Fire Alarm Panel. |  |
| - IH166C | UV Flame Detector with Air Purging Provision for Indoor Application, Flickering LED Indication for Normal Operation. 24 V DC, 4 wire system 2 wire for Input supply & 2 wire suitable to connect Standard Fire Alarm Panel ( IH 166 C - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 166 C - AP ). |  |
| - IH166S | UV Flame Detector with IP 67 Protection and Air Purging Provision. Flickering LED Indication for Normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel ( IH 166 S - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 166 S - AP ). |  |
| - IH166S/1-UF | UV Flame Detector with Ex. Proof Enclosure. Flickering LED Indication for normal operation. 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel ( IH 166 S/1-UF - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 166 S/1-UF-AP ). |  |
| - IH224 | IR / UV Flame Detector with IP 66 protection and Air Purging provision. Flickering LED Indication for normal operation. 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel ( IH224 - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 224 - AP ) |  |
| - IH224/S-UF | IR / UV Flame Detector with Ex. Proof Enclosure. Flickering LED Indication for normal operation. 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel ( IH224 S - UF - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 224 S - UF - AP ). |  |
| - IH225 | Triple Sensor Flame Detector With IP 67 Protection and Air Purging Provision Flickering LED, 24v DC, 4 Wire System - 2 Wire for Input Supply & 2 Wire suitable to connect Adderessable Fire Alarm Panel / Annunciation Panel / PLC ( IH225 - AP) |  |
| - IH155 | Infra Red Flame Detector Dual Type with IP 67 Protection and Air Purging Provision . Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel or Addressable Fire Alarm / Annunciation Panel / PLC ( IH 153F-APFP) |  |
| - IH155S | Infra Red Flame Detector Dual Type with Explosion Proof Enclosure. Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel / Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 153SF-APFP) |  |
| - IH154 | Infra Red Flame Detector with IP 67 Protection and Air Purging Provision . Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel or Addressable Fire Alarm / Annunciation Panel / PLC ( IH154-APFP) |  |
| - IH154S | Infra Red Flame Detector with Explosion Proof Enclosure. Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel / Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 153SF-APFP) |  |
| - IH1555 | Infra Red Flame Detector Triple Type with IP 67 Protection and Air Purging Provision . Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel or Addressable Fire Alarm / Annunciation Panel / PLC ( IH 155-APFP) |  |
| - IH1555S | Infra Red Flame Detector Triple Type with Explosion Proof Enclosure. Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel / Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 155S-AP) |  |
| - IH153E | Infra Red Ember Detector with IP 67 Protection and Air Purging Provision suitable for coal conveyor. Flickering LED Indication for normal operation 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire suitable to connect standard Fire Alarm Panel ( IH153E - FP ) or Addressable Fire Alarm Panel / Annunciation Panel / PLC ( IH 153E - AP ) |  |
| - IH-M 224 | UV/IR Flame detector with SS316 enclosure suitable for Marine Application |  |
| - IH366M * | UV flame monitor (* Available in october 2009) |  |
| - IH323 | Air Purging Unit - Stand Alone Type |  |
| - IH323 / CT | Air Purging Unit with Sequential Timer |  |
| - IH MB 01 | Tilting Mounting Base for model no. IH153E |  |
| - IH MB 01S | Swivel Mounting Base (common for all model) |  |
| - IH MB 01 XY | Tilting Mounting Base in X and Y axis |  |
| - IH MB 01 SXY | Tilting Mounting Base in X and Y axis suitable for indoor application |  |
| - IH 224 - S UF - MB 01 | Tilting Mounting Base - Explosion Proof - IH224 S UF |  |
| - IH 224-S UF-AIR-01 | Air Purging Provision Unit suitable for model IH 224 S UF |  |
| - IH 224-S- SS-01 | Stimulator Switch suitable for model IH 224 S UF |  |
| - IH163/1 | IR Spark Detector Assembly suitable for Duct Size upto 400 mm Dia |  |
| - IH163/2 | IR Spark Detector Assembly suitable for Duct Size from 400 mm Dia upto 600 mm dia |  |
| - IH163/3 | IR Spark Detector Single Module suitable for IH163/1, IH163/2 as spares |  |
| - IH163/4 | IR Spark Detector Module suitable for Mounting Directly on duct / Machinery to connect directly with conventional fire alarm panel |  |
| - IH163/5 | IR Spark Detector Module. Flickering LED Indication for normal operation. 24 V DC, 4 wire system. 2 wire for Input Supply & 2 wire for output connection ( Model No. IH163/5 - AP) |  |
| - IH163/6 | IR Spark Detector Module - Weather Proof Model |  |
| - IH163/7 | IR Spark Detector Probe Type Stand Alone Module suitable for high temperature and speacial applications.24v DC, 4 Wire System - 2 Wire for Input Supply & 2 Wire suitable to connect Conventional Fire Alarm Panel |  |
| - IH042-60 | Probe type heat detector with ordinary junction box - 60 Deg.C Temparature Setting |  |
| - IH042-70/80 | Probe type heat detector with ordinary junction box - 70 Deg.C / 80 Deg.C Temparature Setting |  |
| - IH042 - 90 | Probe type heat detector with ordinary junction box - 90 Deg.C Temparature Setting |  |
| - IH042 - 100 | Probe type heat detector with ordinary junction box -100 Deg.C Temparature Setting |  |
| - IH042 - 120 | Probe type heat detector with ordinary junction box - 120 Deg.C Temparature Setting |  |
| - IH042 - 150 | Probe type heat detector with ordinary junction box - 150 Deg.C Temparature Setting |  |
| - IH042 - 180 | Probe type heat detector with ordinary junction box - 180 Deg.C Temparature Setting |  |
| - IH042 - * | Probe type heat detector with ordinary junction box - * Temparature Setting |  |
| - IH042E - 60 | Probe type heat detector with explosion proof junction box - 60 Deg.C Temparature Setting |  |
| - IH042E-70/80 | Probe type heat detector with explosion proof junction box - 70 Deg.C / 80 Deg.C Temparature Setting |  |
| - IH042E - 90 | Probe type heat detector with explosion proof junction box - 90 Deg.C Temparature Setting |  |
| - IH042E - 100 | Probe type heat detector with explosion proof junction box - 100 Deg.C Temparature Setting |  |
| - IH042E - 120 | Probe type heat detector with explosion proof junction box - 120 Deg.C Temparature Setting |  |
| - IH042E - 150 | Probe type heat detector with explosion proof junction box - 150 Deg.C Temparature Setting |  |
| - IH042E - 180 | Probe type heat detector with explosion proof junction box - 180 Deg.C Temparature Setting |  |
| - IH042E - * | Probe type heat detector with explosion proof junction box - * Temparature Setting |  |
| - IH042-AD-60/70/ 80/90 | Probe Type heat detector with inbuilt addressable module - Ordinary Junction Box |  |
| - IH042-TC 100 - 300 | Probe Type Heat Detector temperature setting range 100˚C to 300˚C |  |
| - IH322 | LPG Gas Detector with Ex.Proof Junction Box |  |
| - IH150 | Response Indicator Dual LED |  |
| - B222 | LPG Gas Detector |  |
| - B155 | Conventional type Photo Electric type Smoke Detector (system Sensor / Apollo make) |  |
| - B167 | Conventional type Ionization type Smoke Detector (system Sensor / Apollo make) |  |
| - B156 | Conventional type combined Photo Electric & Fixed Temp. Detector (system Sensor / Apollo make) |  |
| - B157 | Conventional type Beam Smoke Detectors (System Sensor / Apollo make) |  |
| - B344 | Explosion Proof Junction Box |  |
| - B352 - 68 | Proline TH 68 Digital Linear Heat Sensing Cable |  |
| - B352 - 78 | Proline TH 78 Digital Linear Heat Sensing Cable |  |
| - B352 - 88 | Proline TH 88 Digital Linear Heat Sensing Cable |  |
| - B352 - 105 | Proline TH 105 Digital Linear Heat Sensing Cable |  |
| - B214 | 2Cx1.5 Sq.mm Cu.Armd. FRLS Cable |  |
| - B356 | 2Cx2.5 Sq.mm Cu.Armd. FRLS Cable |  |
| - B215 | 4Cx1.5 Sq.mm Cu.Armd. FRLS Cable |  |
| - IH360 | Co2 Mobile Evacuation Unit |  |